7000 Keycodes  2004-06-11

The 7000 keyboard keys generate fixed codes as shown in the list

below. These codes are valid as of this writing. It should be

realized that some instruments may have certain keys redefined to

a different meaning. Other instruments may not have the key

available. Additionally, the key definitions can change with time

as some functions are dropped and new functions are added.

7000 front panel keycodes:

Key Label       Value    Description

--------------------------------------------------------

KeyF1        =   0xf300  Function Key F1

KeyF2        =   0xf301  Function Key F2

KeyF3        =   0xf302  Function Key F3

KeyF4        =   0xf303  Function Key F4

KeyF5        =   0xf304  Function Key F5

KeyF6        =   0xf305  Function Key F6

KeyF7        =   0xf306  Function Key F7

KeyF8        =   0xf307  Function Key F8

KeyUp        =   0xf384  Amplitude Increment (up arrow)

KeyDown      =   0xf385  Amplitude Decrement (down arror)

KeyRight     =   0xf387  Frequency Increment (right arrow)

KeyLeft      =   0xf386  Frequency Decrement (left arrow)

KeyStart     =   0xf38b  Start Key

KeyStop      =   0xf3c5  Stop Key

KeyExit      =   0xf382  Exit Key

KeyHelp      =   0xf38a  Help Key

KeyMenu      =   0xf10a  Menu Key

KeyLevel     =   0xf3c3  Level Key

KeyPrint     =   0xf3c2  Print Key

KeyFeed      =   0xf3c4  Feed Key

KeyReset     =   0xf381  Reset Key

It should be noted that a keycode may not be active in the current screen. You should check the current manual for the current software version to determine the specific operation of keys on the 7000.

-med & tmr<eof>